## Slide 1: CWE TSOs clarification document related to the “new DE/AT GSK”
October 2015
1

## Slide 2: Scope of the presentation
<number>
        The aim of this presentation is to gather all relevant information regarding the DE/AT GSK
        The DE/AT GSK will be used in operations as of the 10th of November 2015 (for delivery date 12th of November 2015).

## Slide 3: Agenda
<number>
1
Scope of the new DE/AT GSK (clarification on the method)
These slides were already discussed with NRAs
2
Changes in the past vs. new DE/AT GSK
Already today input files are kept up to date in order to consider the latest information available
3
What improves with the new DE/AT GSK?
4
Letters from market participates
Issues raised from the market participants
TSO answers
5
Detailed description of the individual GSK-files
This description is based on the provisions of the approval package
6
GSK-report
Detailed report analyzing the impact of the FB parameters and MC results

## Slide 4: 1. What changes with the new DE/AT GSK? Scope of the new DE/AT GSK
<number>
        DE/AT GSK report:
        A technical analysis with the aim to assess the impact of the new DE/AT GSK on the CWE PTDF and the market coupling results was performed
        The result of the technical analysis on the new DE/AT GSK was summarized in an end report (incl. annexes)
        This end report refers to both:
        “GSK old”: DE GSK currently used in operation
        “GSK new”: DE/AT GSK to be implemented
        Both terms („GSK old“ and „GSK new“) are described in more detail on the two following slides
        Current status („GSK old“):
        Today each German TSOs creates his individual GSK-files  4 files
        In order to create a common German GSK-file a sharing key is defined among the 4 German TSOs
        (for example: TransnetBW: 14%, TTG: 32% Amprion: 35%, 50Hzt: 19%  in total 100%)
        This sharing key differs for defined timeframes (e.g. week day, weekend, peak and off-peak hours)
        According to the sharing key the 4 individual GSK-files are merged into a common GSK-file which is used in the daily capacity calculation process for the German hub in the CWE region
        Currently Austria (APG) is not considered in the common GSK-file for the common bidding zone Germany/Austria

## Slide 5: 1. Improvement in the creation of the new DE/AT GSK
<number>

## Slide 6: Agenda
<number>
1
Scope of the new DE/AT GSK (clarification on the method)
These slides were already discussed with NRAs
2
Changes in the past vs. new DE/AT GSK
Already today input files are kept up to date in order to consider the latest information available
3
What improves with the new DE/AT GSK?
4
Letters from market participates
Issues raised from the market participants
TSO answers
5
Detailed description of the individual GSK-files
This description is based on the provisions of the approval package
6
GSK-report
Detailed report analyzing the impact of the FB parameters and MC results

## Slide 7: 2. Already today input files are kept up to date in order to consider the latest information available
<number>
        CWE TSOs have the intention to model Flow Based always as close as possible to reality in order to ensure SoS
        and to give the maximum of capacities to the market
        PTDFs are calculated daily based on the input files (D2CF, CB and GSK)
        Amongst others input files are complied daily taking into account the latest information on:
        topology, maintenance of internal lines, interconnectors and PSTs and
        changes in the generation structure (maintenance, commissioning or decommissioning of a power plant)
         The method as such remains the same but the input files are prepared based on the latest information (changes in the input files are considered immediately)
         Thus GSKs were updated already in the past in order to consider the latest generation structure (without involvement of the market parties)
        This was done to model Flow Based as close as possible to reality
         Same situation exists for the new DE/AT GSK
        GSK method as such remains the same but PTDF are calculated based on latest inputs with best forecast available at delivery time

## Slide 8: Agenda
<number>
1
Scope of the new DE/AT GSK (clarification on the method)
These slides were already discussed with NRAs
2
Changes in the past vs. new DE/AT GSK
Already today input files are kept up to date in order to consider the latest information available
3
What improves with the new DE/AT GSK?
4
Letters from market participates
Issues raised from the market participants
TSO answers
5
Detailed description of the individual GSK-files
This description is based on the provisions of the approval package
6
GSK-report
Detailed report analyzing the impact of the FB parameters and MC results

## Slide 9: 3. What improves with the new DE/AT GSK? 1/2
<number>
        Brings Flow Based closer to reality  improvement of the CWE FB CC:
        Market Coupling calculates common results for the bidding zone Germany/Austria
        But at the moment Austria is not fully considered in the CWE capacity calculation process; in fact Austria is currently not taken into account in the GSK-file for Germany/Austria (models solely Germany)
        Furthermore the generation structure in Germany changed recently (e.g. decommissioning of a 2 GW unit)
        Both issues described above are no yet considered in the weighting of the individual GSK-files used currently in operation
         Consequently the weighting of the individual GSK-files needs to be adapted. Both issues are considered in the new DE/AT GSK which thereby models Flow Based as close as possible to reality
        Once the new DE/AT GSK is used in operation it will be considered also in the FRM evaluation process which is supposed to result in the reduction of security margins
        On the other hand a less precise GSK means a less precise input and consequently higher uncertainties/risks which results in the need for higher security margins
         The new DE/AT GSK models FB closer to reality and thus ensures to allocate the maximum of capacities
        A delay of the new DE/AT GSK means performing capacity calculation with outdated input files (e.g. decommissioning of a 2 GW unit already several month ago); this implies results which are not as good as they could possibly be

## Slide 10: 3. What improves with the new DE/AT GSK? 2/2
<number>
        Fulfill regulatory requirements:
        Together with the approval of the CWE FB MC Go-Live NRAs submitted to TSOs a concrete list with further improvement requests. One of these issues refers to the GSK and the request to improve it were possible. (“With the current implementation of FB, there is room for improvement of the GSK determination. … Seek a good level of representativeness of effective power shift….”)
        Similar requirements are defined in Article 24 of the CACM GL (“The generation shift keys shall represent the best forecast …”).
         The new DE/AT GSK fulfills these requests
        Further step to enable CWE extension:
        Previously for the DE/AT different GSKs were used in the CWE and CEE region
        In order to enable the extension of FB capacity calculation between those two regions it is necessary to align the GSKs as well
         The new DE/AT GSK fulfills this precondition and is consequently foreseen to be used in both regions

## Slide 11: Agenda
<number>
1
Scope of the new DE/AT GSK (clarification on the method)
These slides were already discussed with NRAs
2
Changes in the past vs. new DE/AT GSK
Already today input files are kept up to date in order to consider the latest information available
3
What improves with the new DE/AT GSK?
4
Letters from market participates
Issues raised from the market participants
TSO answers
5
Detailed description of the individual GSK-files
This description is based on the provisions of the approval package
6
GSK-report
Detailed report analyzing the impact of the FB parameters and MC results

## Slide 12: 4. Issues raised from market participants
<number>
        MPP:
        To extend the parallel run study to a longer period than the 10 days in the current assessment, even if they cover various situations (wind, solar, load, temperature, etc.). The 10 days that have been calculated do not reveal all the dynamics of this change.
        To publish a clear description of the methodologies used for computing the different GSKs and as already proposed in the measure to increase transparency.
        To have regulatory approval for this change, given the variations of the impact.
        EFET:
        The proposed change should be submitted to a regulatory approval. (= MPP #3)
        The parallel run assessment should be expanded with more samples and should be continuous for at least a week before go-‐live. Not all effects of the GSK change can be discovered with a 10-day only analysis. (= MPP #1)
        With regards to transparency, a detailed documentation on the GSK methodologies should be published, including the operational GSK day-to‐day‐data. (= MPP #2)
         MPP and EFET raised in principle the same issues

## Slide 13: 4. TSO answers
<number>
        EFET request #1:
        The proposed change should be submitted to a regulatory approval. (= MPP #3)
        TSO answers:
        With the implementation of the new DE/AT GSK the GSK methodology as such is not changed (for further explanation see issue #3). In that light NRAs stated their comfort that no regulatory approval is required. In TSO opinion a regulatory approval would only result in an unnecessary administrative burden and consequently a further delay.
        EFET request #3:
        With regards to transparency, a detailed documentation on the GSK methodologies should be published, including the operational GSK day-to‐day‐data. (= MPP #2)
        TSO answers:
        Documents will be provided and published which clarify the scope of the new DE/AT GSK. (see chapter “scope of the new DE/AT GSK” of this presentation)
        On the next slide the Generation Share Keys are presented comparing the old and new values

## Slide 14: 4. TSO answers, Generation Share Keys
<number>
        „GShK old“:
        „GShK new“:
% | Working day peak | Working day off-peak | Weekend peak | Weekend off-peak
Amprion | 42,6 | 37,9 | 34,9 | 33,1
TransnetBW | 14,1 | 14,0 | 15,0 | 12,1
50Hertz | 8,8 | 11,8 | 8,2 | 11,9
TTG | 17,5 | 18,4 | 18,3 | 18,8
APG | 17,0 | 17,8 | 23,6 | 24,2
% | Working day peak | Working day off-peak | Weekend peak | Weekend off-peak
Amprion | 23,2 | 31,3 | 42,1 | 46,3
TransnetBW | 9,8 | 10,9 | 22,0 | 11,9
50Hertz | 32,1 | 35,8 | 19,8 | 29,9
TTG | 34,9 | 22,0 | 16,1 | 11,9
        Bear in mind the values below are the ones currently defined by the TSOs.
        The below values reflect the situation in which all involved power plants are available. Note that these are adapted in the operational process in case of revision and other outages.
        The share key is regularly updated with each (de-)commissioning of a power plant (publicly announced).

## Slide 15: 4. TSO answers
<number>
        EFET request #2:
        The parallel run assessment should be expanded with more samples and should be continuous for at least a week before go-live. Not all effects of the GSK change can be discovered with a 10-day only analysis. (= MPP #1)
        TSO answers:
        Analysis of additional days: TSO would like to understand better the concerns from market parties and get a clearer picture on which scenarios are not covered by the GSK report. The selected 10 days allow sound analysis of the impact of the new GSK and therefore enables an implementation in the near future
        Parallel run: it would be impossible to organize a full parallel run before the go-live of the new DE/AT GSK. Especially when it comes to the coordination of remedial actions (qualification / verification process) it is impossible to perform this process in parallel due to the time needed for daily coordination on PST, RA and SoS assesments.
        As illustrated in this presentation, the update of the GSK DE/AT is an update of the reflected data, rather than an update of the methodology.

## Slide 16: Agenda
<number>
1
Scope of the new DE/AT GSK (clarification on the method)
These slides were already discussed with NRAs
2
Changes in the past vs. new DE/AT GSK
Already today input files are kept up to date in order to consider the latest information available
3
What improves with the new DE/AT GSK?
4
Letters from market participates
Issues raised from the market participants
TSO answers
5
Detailed description of the individual GSK-files
This description is based on the provisions of the approval package
6
GSK-report
Detailed report analyzing the impact of the FB parameters and MC results

## Slide 17: 5. Detailed description of the individual GSK-files
<number>
        The description in the linked document is based on the provisions of the approval package and has been detailed
        Detailed GSK description

## Slide 18: Agenda
<number>
1
Scope of the new DE/AT GSK (clarification on the method)
These slides were already discussed with NRAs
2
Changes in the past vs. new DE/AT GSK
Already today input files are kept up to date in order to consider the latest information available
3
What improves with the new DE/AT GSK?
4
Letters from market participates
Issues raised from the market participants
TSO answers
5
Detailed description of the individual GSK-files
This description is based on the provisions of the approval package
6
GSK-report
Detailed report analyzing the impact of the FB parameters and MC results

## Slide 19: 6. GSK-report
<number>
        A technical analysis with the aim to assess the impact of the new DE/AT GSK on the CWE PTDF and the market coupling results was performed
        The result of the technical analysis on the new DE/AT GSK was summarized in an end report
        This end report refers to both:
        “GSK old”: DE GSK used in operation before the 9th of November 2015
        “GSK new”: DE GSK used in operation as of the 9th of November 2015
        Final GSK-report
        Annexes of the GSK-report